## Sheet1
EC No. | Model Description | Model | Calibration | Tags
EC5865 | Digital Power Meter | WT310E | 2018-06-11 | Power input | 20A
EC5119 | Digital Power Meter | WT310HC | 2018-12-14 | Power input | 40A
EC5939 | Digital Power Meter | WT310E | 2018-12-03 | Power input | 20A
EC5940 | Digital Power Meter | WT310E | 2018-12-03 | Power input | 20A
EC5214-14 | Digital Power Meter | WT310 | 2018-07-29 | Power input | 20A
EC5866 | Digital Power Meter | WT310EH | 2018-06-11 | Power input | 40A
EC3620 | AC/DC Digital Power Meter | 青智8716CT | 2018-05-08 | Power input | 40A
EC3039 | AC/DC Digital Power Meter | 青智8716CT | 2018-01-11 | Power input | 40A
EC3121 | AC/DC Digital Power Meter | 青智8716CT | 2018-04-24 | Power input | 40A
EC5110 | Data Acquisition/Switching Unit | HP仪 34970A | 2018-10-20 | Temperature | UL2595专用
EC6087 | Data Acquisition/Switching Unit | HP仪 34970A | 2019-01-02 | Temperature
EC6086 | Data Acquisition/Switching Unit | HP仪 34970A | 2019-01-02 | Temperature
EC5907 | Data Acquisition/Switching Unit | HP仪 34970A | 2018-11-13 | Temperature
EC4008 | Data Acquisition/Switching Unit | HP仪 34970A | 2018-10-28 | Temperature
EC5916 | Data Acquisition/Switching Unit | HP仪 34970A | 2018-11-13 | Temperature
EC2527 | Data Acquisition/Switching Unit | HP仪 34970A | 2019-01-12 | Temperature
EC5109 | Data Acquisition/Switching Unit | HP仪 34970A | 2018-10-20 | Temperature
EC2194 | Data Acquisition/Switching Unit | HP仪 34970A | 2018-09-07 | Temperature
EC3685 | Data Acquisition/Switching Unit | HP仪 34970A | 2018-09-27 | Temperature
EC4232 | Milliohm Meter | 毫欧计 3541 | 2018-07-26 | Resistance
EC5171 | Stop Watch | 秒表 JD-3BII | 2019-01-02 | Time
EC2732 | Stop Watch | 秒表 JD-2II | 2019-01-26 | Time
EC2834 | AC Hi-Pot Tester | 耐压仪 ZHZ8 | 2018-11-19 | Electric Strength
EC4768 | AC Hi-Pot Tester | 耐压仪 ZHZ8 | 2018-11-19 | Electric Strength
EC4937 |  | 插头放电 | 2018-08-16 | Discharge Voltage
EC2632 | Digital Scale | 电子称 TCS-150G3 | 2018-07-25 | Weight | 150KG
EC2639 | Digital Scale | 电子称 AWH-15(SA) | 2019-01-26 | Weight | 15KG
EC5937 | AC Frequency Converter | 艾普斯 KDF-11005G | 2018-12-03 | Power Source | 5KVA
EC5113 | AC Frequency Converter | 艾普斯 | No record | Power Source | 5KVA
EC5936 | AC Frequency Converter | 艾普斯 KDF-11005G | 2018-12-03 | Power Source | 5KVA
EC5564 | AC Frequency Converter | 艾普斯 | No record | Power Source | 5KVA
EC5114 | AC Frequency Converter | 艾普斯 | No record | Power Source | 5KVA
EC2285 | Reel Machine | 卷线盘拉伸 | 2018-12-01
EC3260 |  |  | 2018-08-31 | IP test(1-2) | IPX1-2
EC2554 |  |  | 2018-09-05 | IP test(3-6) | IPX3-6
EC3335 | AC Leakage Current Tester | 美标泄漏电流表 229-2 | 2018-07-04 | Leakage Current
EC3074 | Leakage Current Filter | Fig 4 | 2018-09-06 | Leakage Current
EC5800 | Digital Multimeter | 万用表 287C | 2018-10-19 | Leakage Current
EC4009 | Digital Multimeter | 万用表 289 | 2018-11-03 | Leakage Current
EC2743 |  | Fig 3 | No record
EC4819 | Climate Chamber | 小潮态箱 SETH-Z-102U | 2019-04-22 | Power input, Temperature
EC2065 | Climate Test Chamber | 步入式潮态箱 SEWTH-Z-160 | 2018-07-25 | Power input, Temperature
EC5816 |  | 灼热丝 | 2018-12-02 | Glowing wire test(GWT)
EC4918 |  | 针焰 | 2018-08-04 | Needle flame test(NFT)
EC4919 | Tracking Index Tester | 漏电起痕 | 2018-06-11 | CTI,PTI
EC2019 |  | 球压压块 | 2018-01-28 | Ball pressure
EC2132 |  | 球压压块 | 2018-11-21 | Ball pressure
EC3304 | High Temperature Oven | 烘箱 | 2019-01-26
EC4983 | Pocket Magnifier |  | 2018-11-26
EC5001-8 |  |  |  |  | 15KVA